Ureteral Access Sheath (UAS) 文献检索、筛选与评价报告

基于本地三大数据库及二次搜索文献 | 生成日期：2026-06-14

# 1. Executive Summary

本报告按照 ureteral access sheath (UAS) 主题口径，对本地Cochrane、Google Scholar、PubMed及二次搜索下载文献进行去重、筛选、数据集分层、适应性评估和安全性/性能证据摘录。

| 项目 | 结果 |
| --- | --- |
| PDF总数 | 208 |
| 去重后筛选记录 | 199 |
| 纳入 / 排除 / 待确认 | 20 / 174 / 5 |
| 相似器械临床数据 | 13 |
| SOTA数据 | 4 |
| 适应性综合评价 | 中等/可作为支持证据: 8；低/仅支持性: 2；待确认: 5；高/核心证据: 10 |

The strongest evidence base is concentrated in direct comparative or feasibility studies of suction/flexible/navigable UAS in RIRS/FURS for renal or upper urinary tract stones; systematic reviews/meta-analyses provide SOTA support, while case and non-clinical studies should be down-weighted.

# 2. Literature Search Scope and Source

纳入来源：Cochrane、Google Scholar、PubMed，以及文献2次搜索(24-26.6)中的对应数据库文件夹。

不纳入范围：产品文献文件夹。

PubMed TXT题录用于补充题名、作者、期刊、年份、DOI、PMID和摘要；题录与PDF采用保守匹配，低置信匹配不强行采用。

筛选.docx作为流程、纳排记录和适应性评估结构参考；主题标准已从Double-J支架改写为UAS。

# 3. Screening Criteria and Process

纳入条件：题名或摘要显示UAS、ureteral/ureteric access sheath、suction UAS、TFS-UAS、FV-UAS、FANS、SUAS等为研究对象、干预、对照、技术或主要临床问题，并报告安全性、有效性、性能、压力、感染、结石清除、并发症或资源效率等相关结局。

排除条件：无UAS主题；UAS仅在背景、常规操作或参考文献中顺带出现；主要研究对象为输尿镜、PCNL、ESWL、激光、取石篮、支架或其他非UAS器械/策略；或缺少UAS相关安全性/性能结局。

| 流程步骤 | 数量 | 说明 |
| --- | --- | --- |
| 数据库和本地文件识别 | 208 | 三大数据库及二次搜索文件夹内PDF总数，不含产品文献。 |
| 去重后进入筛选 | 199 | 按题名/DOI/PMID/保守PubMed匹配去重后的记录数。 |
| 重复记录 | 18 | 9个重复组，共18条重复来源行。 |
| 纳入UAS证据 | 20 | 题名/摘要显示UAS为研究对象、干预、对照、技术或主要临床问题。 |
| 排除 | 174 | 无UAS主题、仅背景提及、主要研究对象为其他器械/术式或缺少UAS相关结局。 |
| 待人工确认 | 5 | UAS相关但主题权重、研究类型或证据用途需人工复核。 |
| PubMed未匹配但潜在UAS题录 | 23 | 题录提示UAS相关，但未匹配到本地PDF；单独列出，不混入PDF筛选总表。 |
| 来源：Cochrane | 12 | 去重后筛选总表中的主来源计数。 |
| 来源：Google Scholar | 65 | 去重后筛选总表中的主来源计数。 |
| 来源：PubMed | 122 | 去重后筛选总表中的主来源计数。 |

# 4. Dataset Assignment

为模拟筛选.docx中的SOTA/Similar device证据组织方式，本报告将UAS证据分为以下数据集。

| 数据集 | 数量 | 用途 |
| --- | --- | --- |
| Similar device clinical dataset | 13 | 直接评价UAS或相似UAS的临床安全性/性能，作为核心临床证据。 |
| SOTA dataset | 4 | 系统综述/Meta等二级证据，用于UAS技术现状和总体安全/性能背景。 |
| Technical supportive data | 2 | 体外、工程或模型研究，支持机制或技术性能，临床评价需降权。 |
| Supportive case evidence | 1 | 病例或特殊场景证据，作补充支持。 |
| Pending confirmation | 5 | 主题权重或证据用途需人工确认。 |

# 5. Suitability and Contribution Appraisal

适应性评估采用UAS改写版D/A/P/R/T/O/S/C框架，分别评价器械相关性、用途一致性、患者适用性、报告质量、证据类型、结局相关性、统计支持和临床意义。

| 综合评价 | 数量 | 解释 |
| --- | --- | --- |
| 高/核心证据 | 10 | 器械、用途、人群、报告和结局均与UAS临床评价高度匹配。 |
| 中等/可作为支持证据 | 8 | 与UAS相关，但研究类型、患者人群、报告质量或统计/临床意义存在限制。 |
| 低/仅支持性 | 2 | 非临床、病例或临床意义有限，需降权使用。 |
| 待确认 | 5 | 题名/摘要提示相关，但主题权重或证据用途需人工复核。 |

# 6. Safety and Performance Evidence Summary

自动数据摘录显示，UAS相关文献主要围绕结石清除率、术后并发症、感染/发热/SIRS、手术时间、住院时间、出血或血红蛋白下降、肾内压力/灌注/负压吸引效率等维度报告安全性和性能。详细逐篇摘录见Excel工作簿“安全性能数据提取”sheet。

| ID | 题名 | 样本量 | 关键性能/安全性摘录 |
| --- | --- | --- | --- |
| UAS0012 | Comparison of novel flexible and traditional ureteral access sheath in retrograde intrarenal surgery. |  | The f-UAS group demonstrated signifi- cantly higher SFR (76.3% vs. ¦ P < 0.001) at 1 day postoperatively and a higher clearance rate of stone volume (98.11% vs. ¦ There was no significant difference in SFR at 1 month postoperatively (P = 0.627) and in the len... |
| UAS0026 | Clinical efficacy analysis of two different types of ureteral access sheaths in RIRS for the treatment of 2-4 cm renal... | 381 | Clinical efficacy analysis of two different types of ureteral access sheaths in RIRS for the treatment of 2-4 cm renal stones. ¦ Historically, the efficacy of retrograde intrarenal surgery (RIRS) for stones larger than 2 cm was limited due to technological co... |
| UAS0030 | Head-to-head comparison of novel suction technologies in endourology: suction mini-PCNL versus flexible ureteroscopy us... | 686 | The primary outcome was the stone-free rate (SFR), assessed by 30-day non-contrast CT scan, categorized as Grade A (100% clearance or zero residual fragment, ZRF), Grade B (single ≤ 4 mm residual fragment), or Grade C (any fragment > 4 mm or multiple fragment... |
| UAS0032 | Efficacy and safety of flexible and navigable suction ureteral access sheath combined with flexible ureteroscopic litho... | 91 | Efficacy and safety of flexible and navigable suction ureteral access sheath combined with flexible ureteroscopic lithotripsy versus flexible ureteroscopic lithotripsy alone for infected upper urinary tract stones: a retrospective cohort study. ¦ Extended aut... |
| UAS0034 | Clinical efficacy analysis of tip-flexible suctioning ureteral access sheath combined with disposable flexible ureteros... | 238 | Clinical efficacy analysis of tip-flexible suctioning ureteral access sheath combined with disposable flexible ureteroscope to treat 2-4 cm renal stones. ¦ Vol.:(0123456789) International Urology and Nephrology (2024) 56:3193-3199 https://doi.org/10.1007/s112... |
| UAS0062 | First Prospective, In Vivo Experience Using a Novel Steerable Suction Ureteral Access Sheath in North America. | 42 | The sheath was safe and effective with acceptable postoperative complication rates and stone-free status. ¦ 7 The use of UAS for complex ureteroscopy fa - cilitates safer and more efficient stone clearance by im - proving irrigation flow, optimizing visualiza... |
| UAS0079 | A novel bendable suction sheath in flexible ureteroscopy for renal calculi. | 69 | Observational Study A novel bendable suction sheath in flexible ureteroscopy for renal calculi Jiyu Zhao , Jiajing Wang, Sheng Y ang, Jia Liu, Junzhe Xia, Xianen Gu and Jianhua Long Abstract Objectives: This study aimed to evaluate the clinical efficacy and c... |
| UAS0081 | The dilemma of 12/14F ureteral access sheath (UAS) usage: a case control study. | 98 | p = 0.013) and lower postoperative stone-free rates (60.20% vs. ¦ No statistical differences regarding radiation exposure, stone-free rates, postoperative SIRS rates or LOS were noted between UAS and non-UAS patients with multiple kidney stones of similar siz... |
| UAS0102 | Comparison of the Efficacy of Ureteroscopy through a Flexible Vacuum-Assisted Ureteral Access Sheath with Tubeless-mini... | 270 | Comparison of the Efficacy of Ureteroscopy through a Flexible Vacuum-Assisted Ureteral Access Sheath with Tubeless-mini Percutaneous Nephrolithotomy for the Treatment of 3-2 cm Renal Calculi. ¦ ENDOUROLOGY AND STONE DISEASES Comparison of the Efficacy of Uret... |
| UAS0106 | Acute kidney injury following retrograde intrarenal surgery (RIRS) with flexible and navigable suction ureteral access... | 17 | E-mail: candela.luigi91@gmail.com aBSTraCT BACKGROUND: Flexible and navigable suction ureteral access sheaths (FANS) have proven to be effective in reducing operative time and infectious complications and in increasing stone-free rate during retrograde intrar... |

# 7. Included Evidence List

| ID | 题名 | 研究类型 | 综合评价 | 建议用途 |
| --- | --- | --- | --- | --- |
| UAS0012 | Comparison of novel flexible and traditional ureteral access sheath in retrograde intrarenal surgery. | Clinical original - prospective/RCT | 高/核心证据 | UAS核心临床安全性/性能证据 |
| UAS0026 | Clinical efficacy analysis of two different types of ureteral access sheaths in RIRS for the treatment of 2-4 cm renal... | Clinical original - prospective/RCT | 高/核心证据 | UAS核心临床安全性/性能证据 |
| UAS0030 | Head-to-head comparison of novel suction technologies in endourology: suction mini-PCNL versus flexible ureteroscopy us... | Clinical original - prospective/RCT | 高/核心证据 | UAS核心临床安全性/性能证据 |
| UAS0032 | Efficacy and safety of flexible and navigable suction ureteral access sheath combined with flexible ureteroscopic litho... | Clinical original - prospective/RCT | 高/核心证据 | UAS核心临床安全性/性能证据 |
| UAS0034 | Clinical efficacy analysis of tip-flexible suctioning ureteral access sheath combined with disposable flexible ureteros... | Clinical original - prospective/RCT | 高/核心证据 | UAS核心临床安全性/性能证据 |
| UAS0035 | Impact of flow rate and ratio of endoscope-sheath diameter on stone removal in flexible ureteroscopic lithotripsy: in v... | Non-clinical / bench | 低/仅支持性 | 技术或非临床支持，临床评价中需降权 |
| UAS0062 | First Prospective, In Vivo Experience Using a Novel Steerable Suction Ureteral Access Sheath in North America. | Clinical original - prospective/RCT | 高/核心证据 | UAS核心临床安全性/性能证据 |
| UAS0079 | A novel bendable suction sheath in flexible ureteroscopy for renal calculi. | Clinical original - prospective/RCT | 高/核心证据 | UAS核心临床安全性/性能证据 |
| UAS0081 | The dilemma of 12/14F ureteral access sheath (UAS) usage: a case control study. | Clinical original - prospective/RCT | 高/核心证据 | UAS核心临床安全性/性能证据 |
| UAS0088 | In-depth exploration and initial clinical practice of the ratio of endoscope-sheath diameter theory: smaller flexible u... | Non-clinical / bench | 低/仅支持性 | 技术或非临床支持，临床评价中需降权 |
| UAS0093 | Enhancing Renal Stone Management: Tip-Flexible Ureteral Access Sheath in Cystine Stone Surgery. | Case report | 中等/可作为支持证据 | 病例/特殊场景支持，不宜单独作为核心证据 |
| UAS0102 | Comparison of the Efficacy of Ureteroscopy through a Flexible Vacuum-Assisted Ureteral Access Sheath with Tubeless-mini... | Clinical original - prospective/RCT | 高/核心证据 | UAS核心临床安全性/性能证据 |
| UAS0106 | Acute kidney injury following retrograde intrarenal surgery (RIRS) with flexible and navigable suction ureteral access... | Clinical original - prospective/RCT | 高/核心证据 | UAS核心临床安全性/性能证据 |
| UAS0111 | Efficacy and Safety of Flexible and Navigable Suction Ureteral Access Sheath Versus Conventional Ureteral Access Sheath... | Systematic review / Meta-analysis | 中等/可作为支持证据 | UAS二级证据/SOTA背景支持 |
| UAS0132 | Comparison between flexible and navigable suction ureteral access sheath and standard ureteral access sheath during fle... | Systematic review / Meta-analysis | 中等/可作为支持证据 | UAS二级证据/SOTA背景支持 |
| UAS0150 | Evaluation of the effectiveness and safety of UAS in the treatment of upper urinary tract stones with flexible ureteros... | Systematic review / Meta-analysis | 中等/可作为支持证据 | UAS二级证据/SOTA背景支持 |
| UAS0153 | Flexible ureteroscopy with and without ureteral access sheath in treatment of large renal stones: a randomized controll... | Clinical original - prospective/RCT | 中等/可作为支持证据 | UAS支持性临床证据 |
| UAS0169 | Novel pressure- and temperature-controlled flexible ureteroscope system with a suction ureteral access sheath: a multic... | Clinical original - prospective/RCT | 中等/可作为支持证据 | UAS支持性临床证据 |
| UAS0175 | Outcomes of ureteroscopy and laser lithotripsy with and without ureteral access sheaths for the treatment of renal calc... | Systematic review / Meta-analysis | 中等/可作为支持证据 | UAS二级证据/SOTA背景支持 |
| UAS0178 | A phase I efficacy study of ureteroscopy-assisted flexible negative pressure Suction sheath in the treatment of renal s... | Clinical original - prospective/RCT | 中等/可作为支持证据 | UAS支持性临床证据 |

# 8. Pending Confirmation and Limitations

| ID | 题名 | 类型 | 待确认原因 |
| --- | --- | --- | --- |
| UAS0057 | 2022 Recommendations of the AFU Lithiasis Committee: Ureteroscopy and ureterorenoscopy. | Broader UAS secondary evidence | 可作为UAS背景/指南证据，但不是UAS专门研究。 |
| UAS0085 | Comparison of the safety of flexible ureteroscopy with the different irrigation methods in a 3D print kidney model. | UAS subsection / covariate evidence | 可能含UAS亚组、协变量或术中操作信息。 |
| UAS0094 | Successful Treatment with a 6.3-Fr Disposable Digital Flexible Ureteroscope and Holmium Laser Lithotripsy in a 50-Year-Old Man with Large B... | UAS subsection / covariate evidence | 可能含UAS亚组、协变量或术中操作信息。 |
| UAS0115 | Management of urinary stones by experts in stone disease (ESD 2025). | Broader UAS secondary evidence | 可作为UAS背景/指南证据，但不是UAS专门研究。 |
| UAS0116 | Verification of surgical factors affecting the efficiency of stone extraction with one-surgeon basketing technique using a f-URSL simulatio... | UAS subsection / covariate evidence | 可能含UAS亚组、协变量或术中操作信息。 |

自动摘录依赖PDF前12页可读文本和PubMed题录，正式提交前建议对高/核心证据逐篇全文核对。

部分Google Scholar/Cochrane PDF缺少题录元数据，题名、年份和DOI可能需人工补全。

PubMed中有潜在UAS题录未匹配到本地PDF，已在Excel中单独列出，后续可决定是否补下载全文。

非临床、病例和宽泛指南类证据可作为支持或背景，不建议作为核心临床安全性/性能证据。

# 9. Conclusion

本轮筛选形成了一个以UAS为核心的证据包：13条相似器械临床数据可作为主要临床证据，4条SOTA数据可支撑技术现状和总体安全/性能背景，另有技术支持、病例支持和待确认记录。整体证据提示，吸引、可弯曲或导航UAS在RIRS/FURS处理肾及上尿路结石时主要贡献集中在结石清除、压力/灌注管理、并发症和感染风险控制、手术效率与住院资源等方面。